## TOTAL PROJECT COST
DC |  | TOTAL PROJECT COST
SAMPLE BOQ PROJECT COMPUTATION
ITEM NO. | DESCRIPTION |  | UNIT | QTY. | MATERIALS |  | LABOR |  | EQUIPMENT |  | ESTIMATED DIRECT | MARK-UPS IN PERCENT |  |  | VAT (12%) | TOTAL INDIRECT | TOTAL
[5 empty] | COST | AMOUNT | COST | AMOUNT | COST | AMOUNT | COST | OCM | PROFIT | OCM+PROFIT |  | COST | COST
1 | OFFICES AND LAB FOR THE ENGINEERS
1.1 | Provision of Field Office for the Engineer (Rental) |  | mo. | 6 | - | - | - | - | 60000 | 360000 | 360000 | 9% | 8% | 17% | 50544 | 50544.17 | 410544.17
| SUB-TOTAL |  |  |  |  | - |  | - |  | 360000 | 360000 |  |  |  | 50544 | 50544.17 | 410544.17
2 | OTHER GENERAL REQUIREMENTS
2.1 | Project Billboard/Sign Board |  | ea | 1 | 6380 | 6380 | 1338.12 | 1338.12 | 133.81 | 133.81 | 7851.93 | 9% | 8% | 17% | 1102.411 | 1102.581 | 8954.511
2.2 | Occupational Safety and Health |  | l.s | 1 | 112329.46 | 112329.46 | 8536.8 | 8536.8 | - | - | 120866.26 | 9% | 8% | 17% | 16969.6229 | 16969.7929 | 137836.0529
2.3 | Mobilization/Demobilization |  | l.s | 1 | - | - | - | - | 44204.66 | 44204.66 | 44204.66 | 9% | 8% | 17% | 6206.3343 | 6206.5043 | 50411.1643
| SUB-TOTAL |  |  |  |  | 118709.46 |  | 9874.92 |  | 44338.47 | 172922.85 |  |  |  | 24278.3681 | 24278.8781 | 197201.2181
3 | EARTHWORKS
3.1 | Structural Excavation |  | cu.m | 74.77 | - | - | 12.5 | 934.625 | 220.81 | 16509.9637 | 17444.5887 | 9% | 8% | 17% | 2449.2203 | 2449.3903 | 19893.979
3.2 | Embankment from Structure Excavation |  | cu.m | 67.29 | - | - | 7 | 471.03 | 130.51 | 8782.0179 | 9253.0479 | 9% | 8% | 17% | 1299.1279 | 1299.2979 | 10552.3458
3.3 | Embankment from Borrow |  | cu.m | 174.73 | 450 | 78628.5 | 7 | 1223.11 | 130.51 | 22804.0123 | 102655.6223 | 9% | 8% | 17% | 14412.8494 | 14413.0194 | 117068.6417
3.4 | Gravel Fill |  | cu.m | 24.39 | 1370 | 33414.3 | 5 | 121.95 | 83.93 | 2047.0527 | 35583.3027 | 9% | 8% | 17% | 4995.8957 | 4996.0657 | 40579.3684
| SUB-TOTAL |  |  |  |  | 112042.8 |  | 2750.715 |  | 50143.0466 | 164936.5616 |  |  |  | 23157.0932 | 23157.7732 | 188094.3348
4 | REINFORCED CONCRETE WORKS
4.1 | Structural Concrete (Ready Mix, Class A, 28 days) |  | cu.m | 75.609 | 6370 | 481629.33 | 67.23 | 5083.1931 | 222.64 | 16833.5878 | 503546.1108 | 9% | 8% | 17% | 70697.874 | 70698.044 | 574244.1548
4.2 | Reinforcing Steel, Grade 40 |  | kgs | 2356.39 | 47 | 110750.33 | 18.05 | 42532.8395 | 3.34 | 7870.3426 | 161153.5121 | 9% | 8% | 17% | 22625.9531 | 22626.1231 | 198737.07
4.3 | Forms and Falseworks |  | sqm | 761.55 | 323.82 | 246605.121 | 212.84 | 162088.302 | 92.8 | 70671.84 | 479365.263 | 9% | 8% | 17% | 67302.8829 | 67303.0529 | 546668.3159
| SUB-TOTAL |  |  |  |  | 838984.781 |  | 209704.3346 |  | 95375.7704 | 1144064.8859 |  |  |  | 160626.71 | 160627.22 | 644754.75
5 | TERMITE CONTROL WORKS
5.1 | Soil Poisoning |  | L | 20.801 | 350 | 7280.35 | 77.17 | 1605.2132 | 7.17 | 149.1432 | 9034.7063 | 9% | 8% | 17% | 1268.4728 | 1268.6428 | 10303.3491
| SUB-TOTAL |  |  |  |  | 7280.35 |  | 1605.2132 |  | 149.1432 | 9034.7063 |  |  |  | 1268.4728 | 1268.6428 | 10303.3491
6 | MASONRY WORKS
6.1 | 4" CHB Non-Load Bearing Wall |  | sqm | 139.925 | 486.23 | 68035.7328 | 34 | 4757.45 | 60.8 | 8507.44 | 81300.6228 | 9% | 8% | 17% | 11414.6074 | 11414.7774 | 92715.4002
6.2 | 6" CHB Load Bearing Wall |  | sqm | 313.624 | 819.68 | 257071.3203 | 33 | 10349.592 | 73.13 | 22935.3231 | 290356.2354 | 9% | 8% | 17% | 40766.0155 | 40766.1855 | 331122.4209
| SUB-TOTAL |  |  |  |  | 325107.0531 |  | 15107.042 |  | 31442.7631 | 371656.8582 |  |  |  | 52180.6229 | 52180.9629 | 423837.8211
7 | FABRICATED MATERIALS
7.1 | Tanguile Wooden Panel Doors |  | sqm | 19.74 | 2500 | 49350 | 929.25 | 18343.395 | 92.93 | 1834.4382 | 69527.8332 | 9% | 8% | 17% | 9761.7078 | 9761.8778 | 79289.711
7.2 | Frames (Jambs, Sill, Head, Transoms & Mullions) |  | set | 14 | 2100 | 29400 | 669.06 | 9366.84 | 66.91 | 936.74 | 39703.58 | 9% | 8% | 17% | 5574.3826 | 5574.5526 | 45278.1326
7.3 | Frameless Glass Doors |  | sqm | 5.88 | 33000 | 194040 | 334.53 | 1967.0364 | 33.45 | 196.686 | 196203.7224 | 9% | 8% | 17% | 27547.0026 | 27547.1726 | 223750.895
7.4 | Aluminum Glass Walls and Windows |  | sqm | 31.74 | 4859.43 | 154238.3082 | 334.53 | 10617.9822 | 33.45 | 1061.703 | 165917.9934 | 9% | 8% | 17% | 23294.8863 | 23295.0563 | 189213.0497
7.5 | Roll up Door (Supply and Install) |  | sqm | 8.97 | 1500 | 13455 | 303.23 | 2719.9731 | 30.32 | 271.9704 | 16446.9435 | 9% | 8% | 17% | 2309.1509 | 2309.3209 | 18756.2644
7.6 | Window Steel Grilles |  | sqm | 26.04 | 864.49 | 22511.3196 | 209.08 | 5444.4432 | 82 | 2135.28 | 30091.0428 | 9% | 8% | 17% | 4224.7824 | 4224.9524 | 34315.9952
7.7 | Lockset |  | set | 14 | 1600 | 22400 | - | - | - | - | 22400 | 9% | 8% | 17% | 3144.96 | 3145.13 | 25545.13
7.8 | Hinges |  | pc | 56 | 65 | 3640 | - | - | - | - | 3640 | 9% | 8% | 17% | 511.056 | 511.226 | 4151.226
| SUB-TOTAL |  |  |  |  | 489034.6278 |  | 48459.6699 |  | 6436.8176 | 543931.1153 |  |  |  | 76367.9286 | 76369.2886 | 620300.4039
8 | FINISHING WORKS
8.1 | Plain Cement Plaster Finish |  | sqm | 812 | 124.49 | 101085.88 | 96.53 | 78382.36 | 9.65 | 7835.8 | 187304.04 | 9% | 8% | 17% | 26297.4872 | 26297.6572 | 213601.6972
8.2 | Fiber Cement Board Ceiling on Metal Frame |  | sqm | 20 | 775.07 | 15501.4 | 335.25 | 6705 | 33.53 | 670.6 | 22877 | 9% | 8% | 17% | 3211.9308 | 3212.1008 | 26089.1008
8.3 | Drywall on Metal Frame |  | sqm | 51 | 765.94 | 39062.94 | 335.25 | 17097.75 | 33.53 | 1710.03 | 57870.72 | 9% | 8% | 17% | 8125.0491 | 8125.2191 | 65995.9391
8.4 | 60x60 Acoustic Ceiling |  | sqm | 200.32 | 437 | 87539.84 | - | - |  | 0 | 87539.84 | 9% | 8% | 17% | 12290.5935 | 12290.7635 | 99830.6035
8.5 | Glazed Tiles and Trims |  | sqm | 282.74 | 750 | 212055 | 798.63 | 225804.6462 | 79.86 | 22579.6164 | 460439.2626 | 9% | 8% | 17% | 64645.6725 | 64645.8425 | 525085.1051
8.6 | Unglazed Tiles |  | sqm | 37.88 | 360 | 13636.8 | 559.04 | 21176.4352 | 55.9 | 2117.492 | 36930.7272 | 9% | 8% | 17% | 5185.0741 | 5185.2441 | 42115.9713
8.7 | Decorative Bricks |  | sqm | 14.99 | 1160.5 | 17395.895 | 557.55 | 8357.6745 | 55.76 | 835.8424 | 26589.4119 | 9% | 8% | 17% | 3733.1534 | 3733.3234 | 30322.7353
8.8 | 50 mm ⌀ Stainless Steel Railing |  | ln.m | 21.18 | 4500 | 95310 | - | - | - | - | 95310 | 9% | 8% | 17% | 13381.524 | 13381.694 | 108691.694
8.9 | PCSO Lighted Acrylic Built-up Signage |  | sqm | 2.68 | 18581.08 | 49797.2944 | - | - | - | - | 49797.2944 | 9% | 8% | 17% | 6991.5401 | 6991.7101 | 56789.0045
8.1 | PCSO and Branch Office Stainless Steel Text and Logo |  | sqm | 1.05 | 118131.87 | 124038.4635 | - | - | - | - | 124038.4635 | 9% | 8% | 17% | 17415.0003 | 17415.1703 | 141453.6338
| SUB-TOTAL |  |  |  |  | 755423.5129 |  | 357523.8659 |  | 35749.3808 | 1148696.7596 |  |  |  | 161277.025 | 161278.725 | 1309975.4846
9 | PAINTING WORKS
9.1 | Exterior Walls |  | sqm | 370.49 | 845 | 313064.05 | 210.11 | 77843.6539 | 21.01 | 7783.9949 | 398691.6988 | 9% | 8% | 17% | 55976.3145 | 55976.4845 | 454668.1833
9.2 | Interior Walls |  | sqm | 154.75 | 845 | 130763.75 | 233.46 | 36127.935 | 23.35 | 3613.4125 | 170505.0975 | 9% | 8% | 17% | 23938.9157 | 23939.0857 | 194444.1832
| SUB-TOTAL |  |  |  |  | 443827.8 |  | 113971.5889 |  | 11397.4074 | 569196.7963 |  |  |  | 79915.2302 | 79915.5702 | 649112.3665
10 | ROOF FRAMING AND ROOFING WORKS
10.1 | Structural Steel, Steel Truss |  | kgs | 706.55 | 61.5 | 43452.825 | 9.42 | 6655.701 | 13.75 | 9715.0625 | 59823.5885 | 9% | 8% | 17% | 8399.2318 | 8399.4018 | 68222.9903
10.2 | Prepainted Metal Sheets, Rib-type Long span, |  | sqm | 139.75 | 550.33 | 76908.6175 | 200.73 | 28052.0175 | 20.07 | 2804.7825 | 107765.4175 | 9% | 8% | 17% | 15130.2646 | 15130.4346 | 122895.8521
| Corrugated, 0.5 mm THK |  |  |  |  | 0 |  | 0 |  | 0 | 0 | 9% | 8% | 17% | 0 | 0.17 | 0.17
10.3 | Structural Steel, Purlins |  | kgs | 907.2 | 56.33 | 51102.576 | 7.6 | 6894.72 | 8.96 | 8128.512 | 66125.808 | 9% | 8% | 17% | 9284.0634 | 9284.2334 | 75410.0414
10.4 | Fabricated Metal Roofing Accessory |  | m | 9.84 | 311.63 | 3066.4392 | 33.45 | 329.148 | 3.35 | 32.964 | 3428.5512 | 9% | 8% | 17% | 481.3686 | 481.5386 | 3910.0898
| (Ridge Roll 0.6 mm THK) |  |  |  |  | 0 |  | 0 |  | 0 | 0 | 9% | 8% | 17% | 0 | 0.17 | 0.17
10.5 | Fabricated Metal Roofing Accessory |  | m | 46 | 378.68 | 17419.28 | 33.45 | 1538.7 | 3.35 | 154.1 | 19112.08 | 9% | 8% | 17% | 2683.336 | 2683.506 | 21795.586
| (Flashing, 0.6 mm THK) |  |  |  |  | 0 |  | 0 |  | 0 | 0 | 9% | 8% | 17% | 0 | 0.17 | 0.17
10.6 | Fabricated Metal Roofing Accessory |  | m | 19 | 321.36 | 6105.84 | 28.35 | 538.65 | 2.84 | 53.96 | 6698.45 | 9% | 8% | 17% | 940.4624 | 940.6324 | 7639.0824
| (Gutter, 0.6 mm THK) |  |  |  |  | 0 |  | 0 |  | 0 | 0 | 9% | 8% | 17% | 0 | 0.17 | 0.17
10.7 | Metal Structure Accessories, Sag Rods |  | m | 102 | 39.77 | 4056.54 | 25.74 | 2625.48 | 2.57 | 262.14 | 6944.16 | 9% | 8% | 17% | 974.9601 | 975.1301 | 7919.2901
10.8 | Reflective Insulation |  | m | 139.75 | 141.75 | 19809.5625 | 74.95 | 10474.2625 | 7.49 | 1046.7275 | 31330.5525 | 9% | 8% | 17% | 4398.8096 | 4398.9796 | 35729.5321
| SUB-TOTAL |  |  |  |  | 221921.6802 |  | 57108.679 |  | 22198.2485 | 301228.6077 |  |  |  | 42292.4965 | 42294.5365 | 343523.1442
11 | PLUMBING & SANITARY WORKS
11.1 | Sewer Line Works |  | l.s. | 1 | 17125.5 | 17125.5 | 13335.04 | 13335.04 | 1333.5 | 1333.5 | 31794.04 | 9% | 8% | 17% | 4463.8832 | 4464.0532 | 36258.0932
11.2 | Cold Water Line Works |  | l.s. | 1 | 2499 | 2499 | 8751.12 | 8751.12 | 875.11 | 875.11 | 12125.23 | 9% | 8% | 17% | 1702.3823 | 1702.5523 | 13827.7823
11.3 | Downspout/Storm Drain |  | l.s. | 1 | 74253.38 | 74253.38 | 22009.92 | 22009.92 | 2200.99 | 2200.99 | 98464.29 | 9% | 8% | 17% | 13824.3863 | 13824.5563 | 112288.8463
11.4 | Sanitary/Plumbing Fixtures |  | l.s. | 1 | 282813.09 | 282813.09 | 26762.4 | 26762.4 | 2676.24 | 2676.24 | 312251.73 | 9% | 8% | 17% | 43840.1429 | 43840.3129 | 356092.0429
11.5 | Septic Vault "Type E" |  | l.s. | 1 | 23826.99 | 23826.99 | 18189.19 | 18189.19 | 1818.92 | 1818.92 | 43835.1 | 9% | 8% | 17% | 6154.448 | 6154.618 | 49989.718
11.6 | Catch Basin |  | ea | 10 | 645.61 | 6456.1 | 334.53 | 3345.3 | 33.45 | 334.5 | 10135.9 | 9% | 8% | 17% | 1423.0804 | 1423.2504 | 11559.1504
11.7 | Fire Extinguisher, 10lbs cap., Wall mount, HCFC 123 |  | ea | 7 | 6825 | 47775 | - | - | - | - | 47775 | 9% | 8% | 17% | 6707.61 | 6707.78 | 54482.78
| SUB-TOTAL |  |  |  |  | 454749.06 |  | 92392.97 |  | 9239.26 | 556381.29 |  |  |  | 78115.9331 | 78117.1231 | 634498.4131
12 | ELECTRICAL WORKS
12.1 | Conduits, Boxes, and Fittings |  | ls | 1 | 62238.75 | 62238.75 | 18670.4 | 18670.4 | 1867.04 | 1867.04 | 82776.19 | 9% | 8% | 17% | 11621.7771 | 11621.9471 | 94398.1371
12.2 | Wires anf Wiring Devices |  | ls | 1 | 151241.54 | 151241.54 | 18831.85 | 18831.85 | 1883.19 | 1883.19 | 171956.58 | 9% | 8% | 17% | 24142.7038 | 24142.8738 | 196099.4538
12.3 | Panel Board |  | ls | 1 | 309288.75 | 309288.75 | 24174.2 | 24174.2 | 2417.42 | 2417.42 | 335880.37 | 9% | 8% | 17% | 47157.6039 | 47157.7739 | 383038.1439
12.4 | Lighting Fixtures + Service Entrance |  | ls | 1 | 140750 | 140750 | 10834.72 | 10834.72 | 1083.47 | 1083.47 | 152668.19 | 9% | 8% | 17% | 21434.6139 | 21434.7839 | 174102.9739
| SUB-TOTAL |  |  |  |  | 663519.04 |  | 72511.17 |  | 7251.12 | 743281.33 |  |  |  | 104356.6987 | 104357.3787 | 847638.7087
13 | MECHANICAL WORKS
13.1 | 6.0 HP Floor Mounted ACU |  | unit | 1 | 23588.88 | 23588.88 | 17691.66 | 17691.66 | 202290 | 202290 | 243570.54 | 9% | 8% | 17% | 34197.3038 | 34197.4738 | 277768.0138
13.2 | 3.0 HP Floor Mounted ACU |  | unit | 1 | 39986.69 | 39986.69 | 29990.02 | 29990.02 | 146080 | 146080 | 216056.71 | 9% | 8% | 17% | 30334.3621 | 30334.5321 | 246391.2421
13.3 | 1.5 HP Wall Mounted ACU |  | unit | 1 | 23697.83 | 23697.83 | 17773.38 | 17773.38 | 56098 | 56098 | 97569.21 | 9% | 8% | 17% | 13698.7171 | 13698.8871 | 111268.0971
13.4 | 1.5 HP Window Type ACU |  | unit | 1 | 29998 | 29998 |  |  | 44550 | 44550 | 74548 | 9% | 8% | 17% | 10466.5392 | 10466.7092 | 85014.7092
13.5 | 4.0 HP Floor Mounted ACU |  | unit | 1 | 18631.4 | 18631.4 | 13973.55 | 13973.55 | 162360 | 162360 | 194964.95 | 9% | 8% | 17% | 27373.079 | 27373.249 | 222338.199
13.6 | 4.0 HP Floor Mounted ACU |  | unit | 1 | 31215.77 | 31215.77 | 23411.83 | 23411.83 | 162360 | 162360 | 216987.6 | 9% | 8% | 17% | 30465.059 | 30465.229 | 247452.829
13.7 | 1.5 HP Wall Mounted ACU |  | unit | 1 | 20973.94 | 20973.94 | 15730.46 | 15730.46 | 56098 | 56098 | 92802.4 | 9% | 8% | 17% | 13029.457 | 13029.627 | 105832.027
13.8 | 1.0 HP Wall Mounted ACU |  | unit | 1 | 17432.89 | 17432.89 | 13074.67 | 13074.67 | 47801 | 47801 | 78308.56 | 9% | 8% | 17% | 10994.5218 | 10994.6918 | 89303.2518
| SUB-TOTAL |  |  |  |  | 205525.4 |  | 131645.57 |  | 877637 | 1214807.97 |  |  |  | 170559.039 | 170560.399 | 1385368.369
| GRAND TOTAL |  |  |  |  | 4636125.565 |  | 1112655.7384 |  | 1551358.4276 | 7300139.731 |  |  |  | 1024939.6182 | 1024950.6682 | 8343335.3492